## Sheet1
San Joaquin Region Helicopter Set Date 8/28/2019
# | Circuit | TD. # | Fly Date | Sta | Str. # | Pole Size | Weight | Elev | Coordinates | Pole pick up location
1 | MT Givens 2.4 kV | TD1415266 | 2019-08-28 | 1&2 | 1722693E | 45' COMP | 660 | 7600' | 37.316929 -119.076378 | 3 pole pick ups here
2 | MT Givens 2.4 kV | TD1415266 | 2019-08-28 | 3&4 | 1722689E | 45' COMP | 660 | 7600' | 37.316014 -119.078461 | 37.324324 -119.086795
3 | MT Givens 2.4 kV | TD1421323 | 2019-08-28 | 3&4 | 1722669E | 45' COMP | 660 | 9000' | 37.304099 -119.091453 | Elevation 8017'
4
5 | MT Givens 2.4 kV | TD1421323 | 2019-08-28 | 1&2 | 1807022E | 45' COMP | 660 | 8700' | 37.285362 -119.105782 | 37.285297 -119.103340
6 | MT Givens 2.4 kV | TD1342428 | 2019-08-28 | 5&6 | 1807100E | 45' CL3 | 1410 | 7500' | 37.261614 -119.140184 | 37.261681 -119.141404
7
8
9
10
11
12
13
14
| LZ : | CHINA PEAK |  | Tailboard with crews here at 0700
| Town: | HUNTINGTON LAKE
| GPS | 37.235734 -119.152587
| Elevation | 7030'
| Hot Line Contacts | Coby White
925-529-0524
cwhite@hotlineconstructioninc.com
| SCE PGS Contacts: | Charlie Calvo (559)280-7850
Kevin Holmes (559)331-9091
| Notes: | GF requests 150' long line due to tree heights
6-8 pics per pole hauling tools and material & might to assist with conductor transfers to new pole
can helicopter company bring water bucket if needed to fight fire