Please respond within 1 hour to acknowledge receipt

Hello Team,

Immediate action is required on your part to remediate the following Priority 1 condition found by Aerial Inspections.

If unable to immediately remediate, update the notification Long Text field with what type of temporary measures were taken to make the condition safe, who made them and the date this occurred.

Any changes to this notification NEED to be updated in the LONG TEXT section of the notification.

Basic Info:

| Type (Transmission, Distribution, Veg., Bird Nest) | Choose an item. |
| --- | --- |
| SAP Notification # | 410672645 |
| SAP Order # | 903039567 |
| Date and Time Reported (Identified by inspector) | 03/09/2020 |
| Inspector’s Name | JASON REDMOND |
| Inspector’s Windows UserID | REDMONJ1 |
| Inspector’s Company (SCE or if Contractor, enter company name and abbreviation) | PRO ENERGY |
| Reviewer’s Name | THOMAS MCNEILL |
| Reviewer’s Windows UserID | MCNEILT2 |
| Reviewer’s Contact Info | 661-310-6701 |
| Structure/FLOC # | 716617E |
| Flight Company | HAWCS |
| Reason (English language – for long text) | DAMAGED CROSS ARM |
| Problem Statement | REPLACE DAMAGED PRI CROSS ARM POLE |
| Circuit Name | RUSTIC |
| Circuit Voltage | 12KV |
| District/GRID/Veg Zone | 43-SADDLEBACK |
| Latitude | 33.682421 |
| Longitude | -117.574438 |
| Location | PP 104' W/O E/L & 4144' N/O S/L SEC 2 |
| Picture Reference # (folder and structure) | TRABUCO CANYON Please verify correct structure # upon arrival |
| Aerial due diligence was performed in determining structure locations. In some cases due to errors in mapping or other factors, location precision is unobtainable. A highly researched location approximation is given in this notice. |  |
| EXISTING SAP NOTIFICATIONS (PERTAINING TO NOTICE) |  |
| Circuit Map or FIM |  |

Structure Photos